A record of the development history of the PoCa software - something that

should have been started a long time ago.

94.06.20

Modified cam_cont.c to include a command 'bin4x4' that does a 2x2

pixel summation in EMS memory of an image that was previously

obtained using hardware 2x2 binning. Necessary because one of the

Photometrics camera controller cards does not do 4x4 binning

properly. (Also updated lcmds.c and proto.h to reflect this.)

This is a bit risky since it will be impossible to test properly

without the cameras and controllers which are at Eureka.

Four by four binning is accomplished by entering 'bin4x4' on the

command line or at the appropriate point in a script file.

-- Note: It is assumed that the image to be binned has already been

binned to 2x2 and is contained in EMS memory.

94.09.16

Added a 'quick look' capability. If enabled, this will write some

data to a file.	Each line of the file will consist of the following data:

camera    filter    duration of exposure    time of exposure    data

where 'data' is the sum of the pixel values in a square area at the

centre of the fov. The file will be called QLOOK.dd, where dd is the day

of the month.

QLOOK is enabled by inserting the character string "-qlook 1" in the

startup file. The default is "-qlook 0" ( disabled ).

In this version "ping" has been removed from the background function.

The watchdog timer must now be pinged from outside KI.

I will consider this to be version 1.10, with 1.00 being the version

that ran at Eureka the winter of '93/'94, and v. 1.00a being the (as yet

untested) version of KI v. 1.00 without the "ping".