Filters

- 1st proposed: notch filter with rejection at FWHM of 50 nm (leaving 20 nm for study)

- big oscillation in transmission that would have to be dealt with

- company: Software Spectra Ltd. (useful modeling capabilities?) at www.spectra.com/nf.html

- 2nd proposed:  band pass filter

- cavity = # high index low index in filter (more cavities = steeper sides at fall off)

- OD (optical density) = -log(transmission) [i.e. 10% trans = 2 OD]

- advantages :10 nm bandpass, steeper sides at fall off

- disadvantages:  big $$

- 3rd proposed: rejection filter (good rejection) at certain wavelengths

- these are stock (i.e. cheaper b/c they don’t have to be custom made)

*  we may find that it is a budget trade-off (stock vs. custom made)

*  notch filters are still viable

*  for ~$500 we could have a rejection band of 20-30 nm; for better, there will be about a factor of 2-3        	times in cost

*  requests for more specs and prices from companies have been made

From reference of Absorptive Occultation Studies (see Dave’s reference email):

- Best measurements (sensitivity) are when you work around 1 OD (tau = 1)

- 10% - 90% absorption is the window for good S/N (i.e. 63% absorption is best)

- this means that we may not want to use entire band and fit to it

- it is suggested that EVERYONE have a look at this reference

Gratings

Transmission:

- 600 lines/mm about the best

- lightweight

- bonds to prism so that prism provides the strength

- can be blazed to 55% efficiency to a specified order (which is good enough)

- for weight issues:  lose the grating mass, but have to include prism and focusing lens

Reflection:

- 1200 lines/mm is common

- available in concave

- attenuation from reflection grating much less than for transmission grating

- eliminates an element if we have to fold optics

- for weight issues:  only have grating mass (assuming concave grating)

*  how much does the # of lines/mm help us?

*  what is the correlation between focal lengths to spectral resolutions?

For Hubi and Gene to do:

- For each grating, they will give a first rough cut of the optical set-up.

- Using the transmission grating, the elements will be:  plane grating (50% in 1st order), prism (optional), focusing lens/mirror

- Using the reflection grating, the elements will be:  plane or concave grating, (lens and mirror as required).

- Common elements:  filter, intensifier, CCD (1-5 nm per pixel, 512x512)

Miscellaneous

*  effect of keeping zeroth order on the CCD:  high ruling = higher dispersion with the zeroth and first

order = less CCD = less stars that you see

*  worries about spin of the instrument:

- if the spin is 1 Hz, we would have to take a picture every 8 ms - unachievable!

- if the wavelength axis is parallel to the spin, there will be overlap of spectrum from one measurement to the other

- if the wavelength axis is perpendicular to the star motion due to spin, then the spectrum will be offset (i.e. first measurement on one row of CCD, second on the next row)

- what happens when the swing of the instrument is added into this problem?

*  definition: BAFFLE - using ‘knife edges’ along the entrance to the detector in order to stop direct light

from a contaminant source